SECTION 042100

STRUCTURAL BRICK MASONRY UNITS INCLUDING BALLISTIC RATED STRUCTURAL BRICK MASONRY UNITS

(HOLLOW CLAY MASONRY)

SECTION 042100

STRUCTURAL BRICK MASONRY UNITS

NOTE TO SPECIFIER: Editing Conventions: Coordinate requirements in the Specifications containing indicated on the Drawings with the Drawings. Verify that items in red are used on the project or are referred to the right section of the code; coordinate with other specification sections as necessary. Items in green font are items or sections or articles specifically related to Atlas® Armor® ballistic rated brick Work info contained herein into a broader masonry section 042000 Unit Masonry, or coordinate requirements herein with other related masonry materials sections (mortar and grout), or supplement this section with information from sections which include mortars and grouts. The information presented in this document is for general information only. It should not under any circumstances be relied upon for specific without independent review and evaluation by a licensed design professional familiar with its specific use and application. Anyone making use of this information does so at their own risk and assumes any and all liability resulting from such use.

GENERAL

SUMMARY

Section Includes: Hollow Brick Masonry Units and Ballistic-resistant rated Hollow Brick Masonry Units.

Related Sections:

Section 013119 - Project Meetings.

Section 014000 - Quality Requirements

Section 040513 – Masonry Mortaring [information may be combined in one broader scope masonry section]

Section 040516 – Masonry Grouting [information may be combined in one broader scope masonry section]

Section 040519 – Masonry Anchorage and Reinforcing [information may be combined in one broader scope masonry section]

Section 071900 - Water Repellents.

Section 079200 - Joint Sealants.

REFERENCES

American Society for Testing and Materials (ASTM):

A580 – Specification for Stainless Steel Wire Used for Masonry Joint Reinforcing

A615 – Specification for Deformed Reinforcing for Concrete and Masonry

A706 – Specification for Low-alloy Steel Deformed and Plain Reinforcing Bars for Concrete and Masonry

A951 – Specification for Galvanized Steel Wire for Masonry Joint Reinforcing

C67 – Test Methods of Sampling and Testing Brick and Structural Clay Tile.

C126 – Specification for Ceramic Glazed Structural Clay Facing Tile, Facing Brick, and Solid Masonry Units.

C150/C150M – Portland Cement

C207 – Hydrated Lime for Masonry Purposes

C216 – Specification for Facing Brick.

C270 – Specification for Mortar for Unit Masonry.

C404 – Aggregates for Masonry Grout

C476 – Grout for Masonry (Standard and Self-consolidating)

C652 – Specification for Hollow Brick.

C1019 – Method of Sampling and Testing Grout.

C1314 – Compressive Strength of Masonry Prisms

C1611 – Slump Flow of Self-Consolidating Concrete

International Building Code (ICC) adopted addition

Building Code Requirements (IBC/IRC/TMS 402) and Specification for Masonry Structures (TMS 602) current adopted addition.

Other pertinent building codes adopted by authority having jurisdiction (IE: city, county, state building codes).

The Masonry Society Specification for Masonry Structures; TMS 602-16

Most current editions of ASTM standards as cited herein.

SUBMITTALS

Product Data, and Evaluation Reports as required for installation.

Shop Drawings: Include elevations of each wall indicating type and layout of units.

Samples: Include samples of stretcher units in sufficient quantity to illustrate color range.

Test Reports from an independent testing laboratory showing compliance with applicable specifications.

QUALITY ASSURANCE

Continuous Inspection:

Employ a qualified masonry inspector for continuous inspection of the masonry work. Acceptance by a State or municipality having a program of examining and certifying masonry inspectors will be considered adequate qualifications. The masonry inspector shall be at the site during all masonry construction and perform the following duties:

Review Drawings and Specifications and meet with the CONTRACTOR to discuss requirements before work commences.

Before masonry work commences, CONTRACTOR and the Contractor's Quality Control Representative shall attend a pre-construction meeting with ENGINEER, and others, to review the requirements for observation, inspection, and quality control of the masonry work.

Check brand and type of cement, lime (if used), source of sand, and source of aggregate. Check gradation reports of sand and aggregates for compliance.

Check pre-packaged materials for compliance with the project specifications and applicable building code.

Ensure that foundation is clean, rough, free of frost or ice, and ready to receive units.

Check reinforcing steel dowels for type, grade, straightness, proper alignment, spacing, size, and length.

Observe field proportioning of mortar. Visually check aggregate to determine uniformity of grading, cleanliness, and moisture.

Ensure that units are properly bedded in mortar as per Part 3 of this specification.

Inspect grout cells to assure that mortar fins will not interfere with grouting. Ensure that masons keep grout cells clean of mortar droppings and inspect to determine compliance.

Continuously observe placing of grout per requirements of Part 3 of this specification.

Perform or supervise performance of required sampling and testing.

Keep complete record of inspections. Report the progress of the masonry inspection daily to the Contractor's Quality Control Representative.

Mock-up:

Prior to starting construction of masonry, construct minimum 4-foot square mock-up.

Use accepted materials, containing each different kind and color of brick masonry units to illustrate wall design.

Show color range, texture range, bond, mortar color, joint tooling, critical design details and quality of workmanship.

Masonry construction may not proceed until the Architect/Engineer/Owner approves mock-up.

When not accepted, construct another mock-up.

When accepted, mock-up will be standard of comparison for remainder of masonry work. Retain mockup for during construction activities and until final inspection and approval of masonry work.

Upon completion and acceptance of Project, dispose of mock-ups in legal manner at offsite location.

Pre-installation Conference: Conduct as specified in Section 013119.

Masonry Prism Testing: Perform masonry prism testing in accordance with ASTM C1314 Standard Test Method for Compressive Strength of Masonry Prisms.

Certification:	Furnish manufacturer’s certification that clay brick units provided meet or exceed the requirements of this specification.

DELIVERY, STORAGE, AND HANDLING

Store masonry units and other masonry related materials above ground to prevent contamination by mud, dust, salts, or other substances likely to cause staining, efflorescence, or other defects.

Cover and protect masonry units from inclement weather to maintain quality control and physical requirements.

Transport and handle brick masonry units as required to prevent discoloration, chipping, and breakage.

Locate storage piles, stacks, and bins to protect materials from heavy traffic.

Set to the side any chipped, cracked, and otherwise defective units deemed unsuitable for use that are discovered when evaluating the units prior to placing them in the wall. Do not remove from site until directed by the manufacturer or manufacturer's authorized representative.

PROJECT CONDITIONS

Cold Weather Requirements:

In accordance TMS 602 Section 1.8 C.

Provide adequate equipment for heating masonry materials when air temperature is below 40 degrees Fahrenheit.

Hot Weather Requirements:

In accordance with TMS 602 Section 1.8 D.

When ambient air temperature exceeds 100 degrees Fahrenheit, or when ambient air temperature exceeds 90 degrees Fahrenheit and wind velocity is greater than 8 miles per hour, implement hot weather protection procedures.

Wet mortar board before loading and cover mortar to retard drying when not being used.

Do not spread mortar beds more than 48 inches ahead of placing masonry units.

Place masonry units within one minute of spreading mortar.

Wetting of Brick: wetting of brick shall be required at the time of laying if the unit’s initial rate of absorption (IRA) exceeds 30 grams per 30 square inches per minute or 1 g/ 645 mm2.

SEQUENCING AND SCHEDULING

Because structural brick may impact the critical path of construction, the General Contractor should contact the brick supplier for availability and scheduling prior to selecting a mason contractor to assure adequate time for manufacturing.

PRODUCTS

HOLLOW LOAD BEARING BRICK MASONRY UNITS (ATLAS® BRICK)

    - Manufacturers:

      - Interstate Brick:  www.interstatebrick.com

        - Sales Representative:

          - Salesman

          - Phone

          - Email

      - H.C. Muddox www.hcmuddox.com

        - Sales Representative:

          - Salesman

          - Phone

          - Email

Type: ASTM C 652, Grade SW, Type HBX [HBS] with minimum gross area compressive strength of 4500 psi.

Surface Texture: Matte unless otherwise noted on drawings: (To be selected by Architect/Engineer from manufacturer’s full range of available textures.)

Colors:

Color as selected by Architect/Engineer from standard colors.

Nominal Size: 8 inches wide x 4 inches high x 16 inches long, unless otherwise indicated on the Drawings.

Special Sizes and Shapes: As identified and required for window and/or door soldier coursing, and custom sills where indicated, corners, bond beams, piers, lintels, control joints, and other special applications where indicated to minimize cutting.

HOLLOW LOAD BEARING BALLISTIC RATED BRICK MASONRY UNITS (ATLAS® ARMOR® BRICK)

    - Manufacturers:

      - Interstate Brick:  www.interstatebrick.com

        - Sales Representative:

          - Salesman

          - Phone

          - Email

      - H.C. Muddox www.hcmuddox.com

        - Sales Representative:

          - Salesman

          - Phone

          - Email

Type: ASTM C 652, Grade SW, Type HBX [HBS] with minimum gross area compressive strength of 4500 psi, certified as ballistic-resistant brick.

Surface Texture: Matte unless otherwise noted on drawings: (To be selected by Architect/Engineer from manufacturer’s full range of available textures.)

Colors:

Color as selected by Architect/Engineer from standard colors.

Nominal Size: 8 inches wide x 4 inches high x 16 inches long, with special ballistic coring profiles, unless otherwise indicated on the Drawings.

Special Sizes and Shapes: As identified and required for window and/or door soldier coursing, and custom sills where indicated, corners, bond beams, piers, lintels, control joints, and other special applications where indicated to minimize cutting.

GROUT

Grout for structural brick wall assemblies shall comply with ASTM C476.  Grout strength (f’g) shall equal or exceed the wall assembly design strength (f’m), generally 3500 psi to 4000 psi. Unless otherwise noted grout shall be mixed to produce a slump from 8” to 10” at the location the grout is placed in the wall. Fine grout may be used were congestion in the grout cells from embedments, conduit, and or reinforcing, would make regular coarse grout placement difficult. Self-consolidating

For ballistic rated wall assemblies provide fine-self-consolidating grout complying with ASTM C476.  Fine-self-consolidating grout compressive strength (f’g) shall equal or exceed the wall assembly design strength (f’m), typically 3500 psi to 4000 psi. Unless otherwise indicated, proportion and mix the fine-self-consolidating grout to achieve an average slump flow spread diameter of 24 to 28 inches when tested in accordance with ASTM C1611, measured at the point of placement, and maintain a cohesive, segregation-resistant mixture.

EXECUTION

PREPARATION

Protect adjacent construction with appropriate means from mortar droppings and other effects of laying brick masonry units.

Thoroughly clean foundations of laitance, grease, oil, mud, dirt, mortar droppings, ice, frost, and other objectionable matter.

Review brick material prior to installation and report any units deemed unsatisfactory for use to the manufacturer. Set aside all units deemed unsatisfactory for further review by testing agency and/or brick manufacturer’s authorized representative. Do not discard or remove material deemed unsatisfactory from site until after completion of the work and until after any quality issues are resolved. If any units are deemed unsatisfactory immediately notify supplier if quantities that are set aside are projected to create a shortfall of useable units.

Prepare mock-up wall utilizing materials, craftsmanship, and details intended to be representative of the project installation. Include interfacing elements and materials (windows, louvers, flashings, special detailing, weeps, vents, etc.) as directed.  Select brick from multiple pallets or cubes to provide a uniform random pattern to the brick hues provided, or to a blend pattern specified, when occurs. Lay brick in a visual aesthetic pattern acceptable to the Architect. Seek and obtain approval of mock-up prior to project installation. Remove and replace mock-up material or craftsmanship identified as unacceptable until installation is approved, prior to main project installation.

BRICK MASONRY UNITS

Provide Level of Quality in accordance with ASTM C652 and C216.

Dry set units for each run of brick to check layout, prior to setting in mortar, to determine where adjustments or field cutting may be required. Work with established construction layout tolerances when making adjustments.

Select units from multiple (at least 3) pallets or cubes to blend hues to create a uniform random pattern of hues when placed in service to avoid patches of light and dark brick.  Install patterns of color as directed where a specific blend of colors is specified.  In all cases lay brick in a pattern acceptable to the Architect.

Installation or units placed in service constitutes mason’s acceptance of, and responsibility for, the brick quality.

Lay units in uniform and true courses, level, plumb, and without projections or offsets of adjacent units exceeding 1/16”.

Lay units to preserve unobstructed vertical continuity of cells to be filled with grout or insulation. Remove mortar, mortar droppings, debris, and other obstructions and materials from inside of cell walls.  Align vertical cells to be filled with grout to maintain clear, unobstructed continuous vertical cells.

For solid grouted or fully grouted walls, Atlas® units need only be bedded in Type S [M] mortar at the perimeter of the face shells; front and back faces, top and bottom (bed joints) and ends (head joints) to match the thickness of the face shells. Apply the mortar and shove units together so that mortar bonds to both adjacent units together.

For Altas® Armor® brick, fully butter all head joints between units to ensure head joints are completely filled with mortar.

For partially grouted walls bed units in Type S [M] mortar as per item 3.02 H, plus bed end and cross webs in mortar, top and bottom, adjacent to cells intended to receive grout to keep the grout from flowing into adjacent areas.

Protect cells intended to remain free of grout using grout stops, mortar dams, or by other effective means so as to confine grout to only the intended cells.

Lay units to desired height with joints of uniform thickness within tolerances listed in TMS 602 Section 3.3 F.

Lay units to avoid formation of cracks when units are placed. Keep cells of units as free of mortar as possible as masonry wall height increases.

Lay masonry plumb, true to line, planar, with courses level. Keep bond pattern plumb throughout. Lay masonry within the tolerances of TMS 602 Section 3.3 F.

When positions of units shift after mortar has stiffened, bond is broken, or cracks are formed, remove unit, remove associated mortar, relay units in new mortar.

Close cleanouts after inspection and before grouting or placing insulation.

LOOSE FILL INSULATION

Pour insulation into cells not intended to be grouted. Loose fill insulation is not allowed in ballistic rated walls – all cells and voids must be filled with grout.

Ensure that no insulation gets into cells which are to be filled with grout.

Do not lay units more than 4 feet vertically ahead of units filled with loose insulation.

MORTAR JOINTS

Make mortar joints straight, clean, smooth, and uniform in thickness.

Pointing: Tool exposed joints, slightly concave, unless detailed otherwise. Strike concealed joints flush. Sled runners are preferred for all bed joints.

Joint Thickness:  Make vertical and horizontal joints as required to achieve nominal dimensions on drawings and within tolerances listed in TMS 602 Section 3.3 F.

Where fresh masonry joins totally or partially set masonry, clean and roughen set masonry before laying new units.

BOND PATTERN

Lay brick masonry units in running bond pattern, unless otherwise indicated on the Drawings.

GROUTING AND REINFORCEMENT

Provide splices in vertical and horizontal reinforcing as outlined in TMS 402 Section 6.1.6.  Hold vertical reinforcing bars in position at top and bottom and at intervals not exceeding 200 bar diameters. Use steel wire bar positioners to position bars and tie reinforcing bars to dowels with wire ties.

Obtain acceptance of reinforcement placement before grouting.

For conventional Atlas® brick construction use standard masonry core fill grout per ASTM C476, either coarse or fine grout, as directed by the Engineer.

For solid grouted or fully grouted walls, fill all spaces and cells containing reinforcing and all other large cells.  It is acceptable for center cells that are nominally 1 inch wide to remain unfilled, even for typical solid grouted or fully grouted construction.

For partially grouted walls fill only designated cells with grout, which will normally also contain reinforcing.

For Atlas® Armor® brick, use only fine-self-consolidating grout, per the requirements of ASTM C476, and use mechanical consolidation techniques to ensure lateral flow of grout and the filling of all cells and voids, including the narrow center cells of the hollow clay masonry units.

Proportioning of individual grout materials for self-consolidating grout at the project site is not permitted per TMS.

Grout shall be provided in uniformly blended, premixed, dry mix 80 lb. (+/-) bags or dry mix 3000 lb (+/-) bulk bags, with only the prescribed amount of water added at the job site per the grout manufacturer’s recommendations, or,

Grout shall be delivered to the job site in a ready-mixed condition.  Do not add water at the jobsite to ready-mixed grout except in accordance with the self-consolidating grout manufacturer’s recommendations.

Low-lift Grouting:

Grout pours of 12 in. or less

Consolidate grout pours of 12 in. or less in height by mechanical vibration or puddling.

Grout pours of 12 in. to 5 ft. 4 in.

Construct the masonry wall up to a maximum height of 5 ft. 4 in.

For partially grouted walls with horizontal bond beams, use expanded metal mesh or other grout stop materials that would not interfere with the mortar bond to confine grout to the cells to be grouted in the bond beam, leaving ungrouted cells below the bond beam unfilled as per the design.

For partially grouted walls, ensure webs adjacent to grouted cells are mortared to confine grout to the cells to be grouted.

Grout the wall no less than 1½ in. below of the top of the constructed section of the wall, where wall continues in subsequent sequences.

Consolidate grout using mechanical vibration directly after initial grout placement and reconsolidate after initial water loss and settlement, generally with an interval of 20 (+/-) minutes between consolidation and reconsolidation.

Top off grout after reconsolidation at top of wall, to fill to top of units unless shown or detailed otherwise.

High-lift Grouting:

If grouting is accomplished by the high-lift method the in-place masonry mortar shall be allowed to cure for at least 4 hours before grouting.

In double wythe construction, vertical grout barriers shall be built across the grout space to the height of the grout lift.

Grout barriers shall not be spaced more than 30 feet apart. Grout shall be placed in lifts not to exceed 12 ft. 8 in. If bond beams occur within the grout pour, limit the grout lift to the bottom of the lowest bond beam that is more than 5 ft. 4 in. above the bottom of the lift.

For conventional Atlas® wall assemblies using standard slump fine or coarse grout, each lift shall be consolidated directly after grout placement (via mechanical vibrators) and allowed to set for 10 to 20 minutes after initial mechanical consolidation of grout before reconsolidation and the successive lift of grout is placed. Each successive lift shall use vibrators for mechanical consolidation inserted through the current pour down into the prior lift for intermixing and reconsolidation purposes.

For highly flowable grout, including fine- and coarse-self-consolidating grout, reconsolidation of the current pour may be necessary to allow additional time for the current grout to set up prior to subsequent grout pours to reduce the overall fluid pressure of the grout columns in the grouted cells to avoid potential blow-outs, especially when units with webs removed are used. Each successive lift shall use vibrators for mechanical consolidation inserted through the current pour down into the prior pour lift for intermixing and reconsolidation purposes.

The full height of each section of wall shall be grouted in one day paying attention to grout intervals and timing so as to reduce the potential for blowouts.

Grout in cells shall have full contact with surface of concrete footings.

When grouting stops for one hour or longer, form horizontal construction joints by stopping grout placement 1½ inches below top of uppermost unit containing grout.

Placement:

Use a hand bucket, concrete hopper, or grout pump.

Place grout in final position within 1½ hours after mixing.

Place grout so as to completely fill the intended grout spaces without segregation of the aggregates or creating bleed water.

Do not insert vibrators into previous grout lifts that are in a semi-solidified state.

For units with small cells, as are found in specialty perforated screen wall brick, use fine-self consolidation grout.

Atlas® hollow clay brick units and Atlas® Armor® hollow clay brick units shall be reinforced as follows:

When used as part of a building’s primary load resisting system, the hollow clay brick units used in structural wall assemblies shall be reinforced and grouted as necessary to resist and resolve all code required applied loads with reinforcing as defined in the construction documents prepared by a licensed design professional. shall not be less than 0.07 percent of the nominal wall area, uniformly distributed in both vertical and horizontal directions.

When used as a veneer in a cavity wall assembly, the hollow clay brick units shall be tied to the backing wall per the code requirements for masonry veneer, and shall have a minimum amount of reinforcing uniformly distributed in both vertical and horizontal directions, in an amount not less than 0.07 percent of the nominal wall area.  Reinforcing shall comply with ASTM A615, A706, A951, and/or A580. Ties shall be located only in locations with grouted cells above and below the tie.

Atlas® Armor® hollow clay brick wall assemblies shall use only deformed bar reinforcing (ASTM A615 or A706) completely engulfed in grout; deformed wire mortar joint reinforcing is not permitted. Reinforcing spacing not to exceed 48 in. (1219 mm).

BOND BEAMS

Place horizontal reinforcement and solidly grout bond beam units in place.

Where 2.25” tall structural units are used, bond beams should be created using the “clamshell” technique where one course is set with the bond beam “U” profile facing upward capped with another bond beam course with the “U” profile facing downward.

Provide wire mesh, grout stop, cavity pans, or similar, at openings in bottom of bond beams to support grout where walls are not grouted solid.

CUTTING BRICK MASONRY UNITS

- When possible, use full units of the proper size in lieu of cut units. Cut units as required to form chases, openings, for anchorage, for other appurtenances, and may be required where layouts are not modular in nature.

Cut and fit units with power-driven carborundum or diamond disc blade saw.

Avoid using units that are cut to less than half of a full unit length by adjusting head joint widths, by adjusting layout, or by combining with partial length units without impacting the reinforcing layout and associated minimum required cells sizes. Reinforcing should be placed in full size cells, not truncated cells due to cutting units, unless detailed otherwise.

EXPANSION JOINTS / MOVEMENT JOINTS

Provide joints in masonry walls only where indicated on the Drawings.  If not shown on construction drawings seek clarifications from the ENGINEER.

Make joints full height and continuous in appearance.

Stop horizontal reinforcing at expansion joints and at building seismic separation joints. Mechanical hardware accessories (joint stabilizers) may be used at expansion joints to help maintain alignment of the face of the walls from one side of the joint to the other at the expansion and movement joints.  Said hardware shall allow horizontal in-plane differential movement.

Insert control joint filler, where required, in joints as wall is constructed.

Insert 50% (or higher) compressible neoprene expansion joint material in expansion joints.

Apply sealant as specified in Section 079000.

OPENINGS AND LINTELS

Place horizontal reinforcement in fully grouted bond beam units.

Use lintel units (soldier units) where underside of lintel will be exposed.

Provide minimum of 8-inch bearing at each end of lintel.

Embed reinforcing bars minimum 24 inches or 40 bar diameters, whichever is longer, into wall past edges of openings or as indicated on the Drawings.

At corners, provide 90-degree bend with equivalent total embedment. Extend inside face bars to outside face of masonry units at corners.

STEEL DOOR FRAMES

Anchor and fully grout jambs and head of steel door frames connected to brick unit masonry.

Fill door frames with mortar or grout as each 2 vertical feet of brick coursing is laid.

Grout may have excessive water that can be a source of future rusting of metal door frames.

BEARING PLATES

Provide minimum of 12 inches of grouted brick unit masonry below steel bearing plates and beams bearing on masonry walls.

ANCHOR BOLTS

Hold anchor bolts in place with template during grouting to assure precise alignment.

Do not cut or ream members being anchored or use other means to accommodate misaligned anchor bolts in roof deck support angles.

Provide minimum 6-inch-wide grouted brick unit masonry entirely around anchor bolts and other attachment devices.

ENCLOSURES

Where brick masonry units enclose conduit, pipes, stacks, ducts, and similar items, construct chases, cavities, and similar spaces as required, whether or not such spaces are indicated on the Drawings.

Point openings around flush mounted electrical outlet boxes with mortar, including flush joints above boxes.

Do not cover enclosures until inspected and when appropriate, tested.

OTHER EMBEDDED ITEMS

Build in wall plugs, accessories, flashings, pipe sleeves, and other items required to be built-in as the masonry work progresses.

PATCHING

Patch exposed brick masonry units at completion of the Work and in such manner that patching will be indistinguishable from similar surroundings and adjoining construction.

MISCELLANEOUS

Build in required items, such as anchors, flashings, sleeves, frames, structural steel, lintels, anchor bolts, and metal fabrications, as required for complete installation.

WATER REPELLENT - BREATHABLE

Apply water repellent as specified in Section 071900.

FIELD QUALITY CONTROL

Test a minimum of 3 masonry units of each type proposed for Project in accordance with ASTM C67 to verify conformance with Specifications.

Tests shall record net area and gross area compressive strength, severe weather water absorption requirements (24-hour cold water absorption, 5-hour boiling water absorption, and Saturation Coefficient (if required)), Initial Rate of Absorption and Unit Weight.

Perform compressive strength testing of structural units using a nominal half unit, cutting the units in half lengthwise to contain a single large cell, bounded by the front and back face shell, one end web and one intermediate web, cut to have  planar faces creating a rectangular shape without any flanges, or “ears”.  Cap according to ASTM C67 prior to testing. Place the center of mass of the unit (not the center of geometry) under the center of the compression head for testing.

Prepare samples of mortar, grout, and grouted prisms for quality assurance testing at the following intervals:

For standard Atlas® brick wall assemblies, prepare samples as required or noted by the Structural Engineer.

For Atlas® Armor® brick wall assemblies, prepare samples for every 1000 square feet, or portion thereof, but no less than one set of samples for each primary exterior elevation [North, East, South, and West] of the building.

Employ and pay acceptable independent testing laboratory to perform field inspections and sampling as per 1.04 A and as outlined below.

For standard Atlas® brick wall assemblies periodic inspections of mortar proportioning and mixing, masonry unit placement, rebar placement, grout proportioning (if done on site) and mixing, and grouting operations shall be provided as directed by the Structural Engineer.

For Atlas® Armor® brick wall assemblies, continuous inspection of mortar proportioning and mixing, unit placement, rebar placement, grout proportioning and mixing (if done on site), and grouting operations shall be provided.

CLEANING

Use the least aggressive cleaning methods and products that will produce the desired result starting with ‘bucket and brush’ using the least caustic commercially prepared cleaning solutions as per the masonry unit manufacturer’s recommendations

Select an inconspicuous location to perform a test cleaning, and seek approval prior to mass cleaning.

Exercise extreme care to prevent mortar splotches.

Do not attach construction supports to masonry walls.

Wash off brick scum, mortar spills, and grout spills before scum, mortar, and grout set.

Remove grout stains from walls.

Clean exposed masonry. Remove scaffolding and equipment. Dispose of debris, refuse, and surplus material offsite legally.

Correct efflorescence on exposed surfaces with commercially prepared cleaning solution acceptable to masonry unit manufacturer.

Apply only commercially produced and packaged cleaning solution from new unopened containers in accordance with cleaning solution manufacturer's printed instructions.

Do not use unbuffered acids as cleaning solution.

Do not use abrasive blast cleaning equipment.

Do not use high pressure water – pressure in excess of 400 psi

FORMS AND SHORES

Where required, construct forms to the shapes indicated on the Drawings.

Construct forms sufficiently rigid to prevent deflection which may result in cracking or other damage to supported masonry and sufficiently tight to prevent leakage of mortar and grout.

Do not remove supporting forms or shores until the supported masonry has acquired sufficient strength to support safely its weight and any construction loads to which it may be subjected.

Wait at least 16 hours after grouting masonry columns or walls before applying uniform loads.

Wait at least 72 hours before applying concentrated loads.

PROTECTION

Provide temporary protection for exposed masonry corners subject to damage.

Bracing:

Adequately brace masonry walls over 8 feet in height to prevent overturning and to prevent collapse unless wall is adequately supported by internal bracing or permanent supporting elements, so wall will not overturn or collapse.

Keep bracing in place until permanent supporting elements of structure are in place.

Limited Access Zone:

Establish limited access zone prior to start of masonry wall construction.

Access zone shall be immediately adjacent to wall and equal to height of wall to be constructed plus 4 feet by entire length of wall on non-scaffolded side of wall.

Limit admission to access zone to workers actively engaged in constructing wall. Do not permit other persons to enter access zone.

Keep access zone in place until wall is adequately supported or braced by permanent supporting elements to prevent overturning and collapse.

GROUTING EQUIPMENT

Grout Pumps:

Do not pump grout through aluminum tubes.

Operate pumps to produce a continuous stream of grout without air pockets.

Upon completion of each days pumping, eject grout from pipeline without contamination or segregation of the grout.

Remove waste materials and debris from the equipment.

Dispose of waste materials, debris, and all flushing water outside the masonry.

Vibrators:

Internal vibrators shall maintain a speed of not less than 5,000 impulses per minute when submerged in the grout.

Maintain at least one spare vibrator, at the site at all times.

Apply vibrators at uniformly spaced points no further apart than the visible effectiveness of the machine.

Limit duration of vibration to time necessary to produce satisfactory consolidation without causing segregation.

END OF SECTION

Ballistic-resistance wall construction (Atlas® Armor® brick) is a high-performance wall type that needs special attention to detailing and construction in order to perform adequately.